Billy Feunang

Vaibhav Pathak

Lasha Khubashvili

Athea Jules

SMART CITIES

Professeur : Christian Ghiaus

https://www.futuribles.com/la-smart-city-mythe-et-realite/

- Model

- Hypothesis:

- Uniform surface temperature on each wall.

- one dimensional heat transfer in each wall.

- Diffuse distribution of solar radiation within rooms.

- No heat transferred from ceilings.

- Thermal circuit

- Choice of the material

The wall is composed of two materials: concrete and insulation. The window is double glazing, and the door is made up of wood. The thermal properties of the materials are given as follow:

|  | Conductivity W/mK | Density Kg/m3 | Specific heat J/(Kg.K) | width | Surface |
| --- | --- | --- | --- | --- | --- |
| Concrete | 1.400 | 2300 | 880 | 0.25 |  |
| Internal concrete | 1.400 | 2300 | 880 | 0.25 |  |
| Internal Insulation | 0.040 | 16 | 1210 | 0.05 |  |
| Glass | 1.400 | 2500 | 1210 | 0.04 |  |
| Wood | 0.2 | 2500 | 720 | 0.05 |  |
| Air |  | 1.2 | 1000 |  |  |

Surface computations:

Surface1 (wall1) = 3.2m*2.5m + 3.32m*2.5m = 16.3 m2

Surface2 (wall2) = 3.92m*2.5m + 2.6m*2.5m = 16.3 m2

Surface3 (indoor wall) = 5.30m*2.5m + 1.8m*2.5m = 17.75 m2

Surface glass (window) = 1.2m*2.5m = 3 m2

Surface of the insulation 1 =  2.95m*2.5m + 3.32m*2.5m = 15.7 m2

Surface of the insulation 2= 3.92m*2.5m + 2.35m*2.5m = 15.7 m2

Surface of the insulation (indoor insulation) = 1.2m*2.5m = 3 m2

Data:

- Thermal conduction (conduction): G=(conductivity*Surface)/width

- Thermal conduction (convection): G=1/(convection coefficient*Surface)

- Thermal capacity:  C=density*specific heat cap.*width*surface

| Parameters | Conductance | Thermal capacities |
| --- | --- | --- |
| G |  |  |
| G |  |  |
| G |  |  |

- Computation of the thermal conductance for conduction, convection, long-wave radiation, and advection.

Matrix A=

[ 1.  0.  0.  0.  0.  0.  0.  0.  0.  0.  0.  0.  0.  0.  0.  0.]

[-1.  1.  0.  0.  0.  0.  0.  0.  0.  0.  0.  0.  0.  0.  0.  0.]

[ 0. -1.  1.  0.  0.  0.  0.  0.  0.  0.  0.  0.  0.  0.  0.  0.]

[ 0.  0. -1.  1.  0.  0.  0.  0.  0.  0.  0.  0.  0.  0.  0.  0.]

[ 0.  0.  0. -1.  0.  0.  0.  0.  0.  0.  0.  1.  0.  0.  0.  0.]

[ 0.  0.  0.  0.  0.  1.  0.  0.  0.  0.  0.  0.  0.  0.  0.  0.]

[ 0.  0.  0.  0.  0. -1.  1.  0.  0.  0.  0.  0.  0.  0.  0.  0.]

[ 0.  0.  0.  0.  0.  0. -1.  1.  0.  0.  0.  0.  0.  0.  0.  0.]

[ 0.  0.  0.  0.  0.  0.  0. -1.  1.  0.  0.  0.  0.  0.  0.  0.]

[ 0.  0.  0.  0.  0.  0.  0.  0.  0.  1.  0.  0.  0.  0.  0.  0.]

[ 0.  0.  0.  0.  0.  0.  0.  0.  0. -1.  1.  0.  0.  0.  0.  0.]

[ 0.  0.  0.  0.  0.  0.  0.  0. -1.  0.  1.  0.  0.  0.  0.  0.]

[ 0.  0.  0.  0.  0.  0.  0.  0.  0.  0. -1.  0.  1.  0.  0.  0.]

[ 0.  0.  0.  0.  0.  0.  0.  0.  0.  0.  0.  0. -1.  1.  0.  0.]

[ 0.  0.  0.  0.  0.  0.  0.  0.  0.  0.  0.  0.  0. -1.  1.  0.]

[ 0.  0.  0.  0.  0.  0.  0.  0.  0.  0.  0.  0.  0.  0. -1.  1.]

[ 0.  0.  0.  0.  0.  0.  0.  0.  0.  0.  0.  1.  0.  0.  0. -1.]

[ 0.  0.  0.  0.  1.  0.  0.  0.  0.  0.  0.  0.  0.  0.  0.  0.]

[ 0.  0.  0.  0.  0. -1.  0.  0.  0.  0.  0.  1.  0.  0.  0.  0.]

[ 0.  0.  0.  0.  0.  0.  0.  0.  0.  0.  0.  1.  0.  0.  0.  0.]

[ 0.  0.  0.  0.  0.  0.  0.  0.  0.  0. -1.  1.  0.  0.  0.  0.]

[ 0.  0.  0.  0.  0.  0.  0.  0.  0.  0.  1.  0.  0.  0.  0.  0.]

[ 0.  0.  0.  0.  0.  0.  0.  0.  0.  0.  1.  0.  0.  0.  0.  0.]

[ 0.  0.  0.  0.  0.  0.  0.  0.  0.  0.  0.  1.  0.  0.  0.  0.]]